## Contact
Organisation | Country | Name | Email | Phone
Department of Environment, Ministry of Agriculture, Rural Development and Environment | Cyprus | Skordi, Katerina | kskordi@environment.moa.gov.cy | +357 22 409104

## IncorporationNationalLaw
ProvidingLaws | ReasonsLaws | NotifyingMeasures | ReasonsMeasures | StricterMeasures | ReasonsStricter
Yes |  | Yes |  | Yes

## ImplementDirective
Conditions | MaxQuantity | Sludge treatment technologies | Rules | Detailed rules | Detailed conditions | Forbidden period length | Existing reducctions or other measures | Cadmium reduced | Copper reduced | Nickel reduced | Lead reduced | Zinc reduced | Mercury reduced | Chromium reduced | Exemptions cases | Analysis types | Analysis minimum frequency | Cadmium other | Copper other | Nickel other | Lead other | Zinc other | Mercury other | Chromium other | Cadmium51 | Comments1 | Comments2 | Comments3 | Comments4 | Comments5 | Cadmium52a | Cadmium52b | Copper51 | Copper52a | Copper52b | Nickel51 | Nickel52a | Nickel52b | Lead51 | Lead52a | Lead52b | Zinc51 | Zinc52a | Zinc52b | Mercury51 | Mercury52a | Mercury52b | Chromium51 | Chromium52a | Chromium52b | Comments6 | Comments7 | Comments8 | Comments9 | Comments10 | Comments11 | Comments12 | Comments13 | Comments14 | Comments15 | Comments16 | Comments17 | Comments18 | Comments19 | Comments20 | Comments21
For the reporting period 2019, the use of sludge from wastewater treatment plants for agriculture purposes was regulated by the Water Pollution Control Laws 2002-2013, the Water Pollution Control (Use of Sludge in Agriculture) Regulations of 2002 (No. 517/2002) and the Code of Good Agriculture Practice Decree (No. 263/2007). Apart from the requirements set in Directive, the Pollution Control Law requires the permitting of WWTP. The permit includes terms related to the sludge management including its use in agriculture. Furthermore, the Code of Good Agriculture Practice includes additional requirements: (1) Prohibition of using the sludge in areas that the quality of surface waters or groundwater might deteriorate and on grassland for period of 12 months before use, (2) guidelines on sludge storage and (3) factors to be considered for determining the quantity of sludge to be applied. | [24 empty] | 3 | [5 empty] | 40 | 0.15 | 140 | 1750 | 12 | 75 | 400 | 3 | 300 | 1200 | 15 | 300 | 4000 | 30 | 1.5 | 25 | 0.1 | 0 | 0 | 0

## 2cLowLimits
Metal | Sites | Surface | Soil | pH | Limit | Comments

## 2dLowLimits
Metal | Sites | Maximum | Soil | pH | Limit | Comments

## 2eLowLimits
Metal | Sites | Surface | Soil | pH | Limit | Comments

## Implementation3456
Technologies | Rules | DetailedRules | Conditions | DetailedConditions | ForbiddenPeriod | Reducctions | Cadmium | Copper | Nickel | Lead | Zinc | Mercury | Chromium | CadmiumOther | CopperOther | NickelOther | LeadOther | ZincOther | MercuryOther | ChromiumOther | AnalysisTypes | AnalysisFrequency
Basically, conventional treatment technologies are used for the sludge treatment. Specifically, the sludge that is used as a feltilizer in agriculture is mainly produced from four major UWWTPs using the following sludge treatment technologies: - Thickening, Anaerobic digesters in mesophilic conditions at a temperature of 35 oC and retention time not less than 18 days leading to stabilized sludge followed by mechanical dewatering using centrifuge. Then, the dewatered sludge is transferred into drying beds for sun drying. - Thickening, Aerobic or mesophilic anaerobic digestion followed by mechanical dewatering using filter press or centrifuge. Then, the dewatered sludge is transferred into the Sewage Sludge Drying Solar Plant. - Thickening, followed by mechanical dewatering using centrifuge. Then, the dewatered sludge is transferred into the Sewage Sludge Drying Solar Plant. - Thickening, Aerobic digestion for a retention time of 20 days thus ensuring that the sludge will be stabilised. The stabilised sludge with the addition of polyelectrolyte on line, is then dewatered in two centrifuges. The dewatered sludge is stored on drained hard standing drying beds prior to being spread onto land as a soil conditioner/fertiliser. Additionally, the sludge produced from two rural UWWTPs is used as a fertilizer in agriculture after thickening, stabilization, mechanical dewatering and drying beds. | No |  | No |  | According to the Water Pollution Control Law (Use of Sludge in Agriculture Regulations No. 517/2002), It is prohibited to use sludge on grassland three weeks before it is grazed and is also prohibited to use sludge on forage crops ten months before harvest. | No | [14 empty] | No other analysis, other than those mentioned in Annex II B (3) is carried out. | Waste Discharge Permits issued to the Urban Wastewater Treatments Plants under the Water Pollution Control Law require that soil analysis of the areas employed for sludge used should be carried out before commencing sludge application. Therefore, the frequency of soil analysis is basically once a year.

## 7Data
Year | DryMatter | SurfaceCovered | DryMatterAgr | SurfaceCoveredAgr | Cadmium | Copper | Nickel | Lead | Zinc | Mercury | Chromium | Nitrogen | Phosphorus
2022 | 8120 |  | 745 |  | 1.22 | 181.63 | 27.54 | 9.39 | 946.92 | 0.80 | 32.75 | 107320.40 | 46263.22

## 8Exemptions
Exemptions
No exemptions have been granted.